## Slide 1
AI Supply Chain Intelligence Report
Token Demand → Hardware Demand | Bottleneck Detection | Investment Signals
Generated: 2026-03-24
AI Supply Chain Intelligence System v1.0

## Slide 2
AI Supply Chain Value Chain Overview
End Customer
OpenAI, Anthropic, Meta AI
AI Service
API platforms, inference services
Cloud / DC
Azure, AWS, GCP, CoreWeave
GPU Server
NVIDIA H100/B200, AMD MI300X
HBM
SK Hynix (50%), Samsung (40%), Micron (10%)
Packaging
TSMC CoWoS - KEY CONSTRAINT
Power
Vertiv, Schneider, GE Vernova
Networking
Broadcom, Marvell, Arista
Foundry
TSMC (N3/N2), Samsung Foundry
Critical (>85%)
High (>70%)
Medium (>50%)
Low (<50%)

## Slide 3
Token Demand → Hardware Demand Model
Tokens/Day (2025 Base)
88.5T
GPU Required (H100 eq.)
0.60M
HBM Demand
48.2PB
Power Required
768MW
Core Models:
GPU = Tokens/day / (86400 × tok/sec × utilization) | H100: 2,000 tok/s | B200: 4,500 tok/s
HBM (GB) = GPU_count × HBM_per_GPU | H100: 80GB | B200: 192GB | Utilization: 85%
Power (MW) = GPU × TDP × 1.3 × PUE / 1e6 | PUE: 1.4 | Server overhead: 1.3x
Service
Tokens/Day
H100 eq.
Power MW
ChatGPT
10.0T
68,083
86.7
Claude
2.0T
13,617
17.3
Gemini
3.0T
20,425
26.0
Llama_OSS
5.0T
34,041
43.4

## Slide 4
Bottleneck Analysis & Cascade Prediction
PRIMARY BOTTLENECK
HBM
Utilization: 95%
Resolution: ~18 months
NEXT BOTTLENECK
CoWoS
Emerging as HBM relief builds
→
→
AFTER NEXT
GPU
Component Utilization (2025)
HBM
95%
CoWoS
92%
GPU
88%
Foundry_Advanced
82%
Power_DC
78%
ASIC
70%
Networking
65%
DRAM
55%

## Slide 5
Hyperscaler CapEx Trends (USD Billion)
Company
2022
2023
2024
2025
2026E
CAGR 22-25
Amazon
$38B
$48B
$75B
$105B
$120B
+40%
Microsoft
$22B
$28B
$55B
$80B
$90B
+54%
Google
$25B
$32B
$52B
$75B
$85B
+44%
Meta
$31B
$28B
$37B
$65B
$72B
+28%
xAI
-
-
$6B
$15B
$25B
+0%
TOTAL
$116B
$136B
$225B
$340B
$392B
Big 5 combined CapEx: $154B (2022) → $340B (2025) → $392B (2026E) | AI infrastructure is now the largest single CapEx category in tech history

## Slide 6
Investment Signals & Positioning
Current Phase: Phase 2 (HBM & Packaging)
Company
Layer
Signal
Thesis (Brief)
Timeframe
SK Hynix
HBM
Strong Buy
HBM3e dominant supplier (50% share), 95% utilization, 2.5x demand growth YoY, GB200 key be...
6-18 months
TSMC CoWoS
CoWoS
Strong Buy
CoWoS at 92% utilization (critical bottleneck)
0-12 months
ASE
CoWoS
Strong Buy
CoWoS at 92% utilization (critical bottleneck)
0-12 months
Amkor
CoWoS
Strong Buy
CoWoS at 92% utilization (critical bottleneck)
0-12 months
Micron
HBM
Buy
HBM3e market share gain 10% -> 20%+; CHIPS Act domestic fab beneficiary; NVIDIA supply div...
12-24 months
TSMC
Packaging/Foundry
Buy
CoWoS monopoly for AI packaging (92% util); N3/N2 pricing power; AI chips 20%+ of revenue
12-36 months
Vertiv
Power
Buy
DC power infrastructure bottleneck; sold out through 2026; AI-driven thermal mgmt demand
6-18 months
GE Vernova
Power
Buy
Gas turbine + grid equipment; transformer shortage 30mo lead time; nuclear AI data center ...
12-24 months

## Slide 7
Key Risk Factors
Geopolitical: Taiwan/TSMC Risk
TSMC produces 90%+ of AI chips; Taiwan strait tension = systemic risk
Mitigation: TSMC Arizona/Japan fabs; Intel Foundry; diversification push
Export Controls: US-China AI chip restrictions
H800/H20 restrictions limit NVIDIA China revenue; future controls possible
Mitigation: NVIDIA US-legal compliant chips; AMD compliance; domestic Chinese ASICs
Demand Disappointment: AI ROI not materializing
If enterprise AI ROI lags, hyperscaler CapEx pullback possible
Mitigation: Diversified AI revenue streams; agent/agentic AI driving new demand
Technology: LLM efficiency gains reduce hardware demand
Techniques like MoE, quantization, speculative decoding reduce GPU requirements
Mitigation: Jevons paradox: efficiency -> more usage -> net demand up
Competition: Samsung HBM3e qualification
If Samsung qualifies for GB200, SK Hynix market share at risk
Mitigation: SK Hynix technology lead; HBM4 roadmap advantage
Custom ASIC displacement of commodity GPU
20-30% of hyperscaler AI workloads shifting to custom ASICs by 2027
Mitigation: NVIDIA software moat (CUDA); diversified to ASIC players (Broadcom, Marvell)

## Slide 8
2025-2027 AI Demand Forecast Scenarios
Scenario
Metric
2024
2025
2026
2027
Bear Case (0.7x)
Tokens/Day
25.0T
62.0T
161.1T
441.3T
GPU Required
0.17M
0.42M
1.10M
3.00M
HBM Demand
13.6PB
33.7PB
87.7PB
240.4PB
Power (MW)
217MW
537MW
1397MW
3828MW
Base Case (1.0x)
Tokens/Day
25.0T
88.5T
328.8T
1286.6T
GPU Required
0.17M
0.60M
2.24M
8.76M
HBM Demand
13.6PB
48.2PB
179.1PB
700.8PB
Power (MW)
217MW
768MW
2851MW
11160MW
Bull Case (1.5x)
Tokens/Day
25.0T
132.8T
739.7T
4342.4T
GPU Required
0.17M
0.90M
5.04M
29.56M
HBM Demand
13.6PB
72.3PB
402.9PB
2365.1PB
Power (MW)
217MW
1151MW
6416MW
37665MW